## Summary
Job Name: | MCCC LA
Job Number:
Job Description:
Location:
Date: | 2025-12-21
Quote Breakdown
QTY | Location | Tech Hours | Other 3rd Party Cost | Mech Cont Cost | Material Cost | AME Tech Cost | AME PM Cost | Engineering Cost | Electrical Cost | Margin | Total Sell Price
1 | MCCC LA | 942.5 | 0 | 0 | 121096.8 | 103675 | 41470 | 20735 | 0 | 28.57% | 409060.85
1 |  | 4 | 0 | 0 | 605 | 440 | 176 | 88 | 0 | 29.96% | 1869.0375
1 |  | 4 | 0 | 0 | 396 | 440 | 176 | 88 | 0 | 29.66% | 1563.85
1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
| Total | 950.5 | 0 | 0 | 122097.8 | 104555 | 41822 | 20911 | 0 | #DIV/0! | 412493.7375
| AME Material / Tech / PM / Engineering Total Costs | 289385.8
| Markup | 40%
| Sell Price | 405140.12
| Mechanical Contractor Costs | 0
| Other 3rd Party Costs | 0
| Markup | 25%
| Sell Price | 0
| Electrical Total Costs | 0
| Markup | 25%
| Sell Price | 0
| Total Sell Price | 405140.12
| Gross Margin | 28.57%

## Price Sheet 1
Tech Hours | Quantities | Scope of Work | Unit Price | Material Totals | Electric Costs
140 |  | SCOPE OF WORK – PREWAILING WAGE |  | 0
|  | · Front End Web Enabled BMS System |  | 0
| 1 | Furnish Network Level Control Panel | 5000 | 5000
| 1 | Furnish PC Workstation (School Operator Console ) | 1500 | 1500
| 1 | Furnish BMS Server | 2000 | 2000
| 1 | Furnish POT (Laptop or Tablet) | 1000 | 1000
| 1 | Furnish UPS | 350 | 350
| 1 | Furnish 3-D Graphics | 2500 | 2500
|  | Furnish Necessary Training on New Controls |  | 0
0
|  | *INTEGRATION AND SOFTWARE FOR NYCDOE CENTRALISED HOST CONTROL STATION BY OTHERS – M406.00 |  | 0
0
|  | *CONNECTION TO NYCDOE WAN BY OTHERS – M406.00 |  | 0
0
|  | *AME WILL PROVIDE HORIZONTAL MS/TP BACNET AND LOW VOLTAGE WIRING FROM THE ITC BACNET WALL DATA ENCLOSURES TO BACNET FIELD TERMINAL DEVICES – M406.00 |  | 0
0
|  | *AME SHALL TEST ALL HORIZONTAL CAT-6 CABLE RUNS AND PROVIDE TEST REPORT TO THE AUTHORITY – 15970-106 |  | 0
0
|  | *THE DIVISION 16 ELECTRICAL SHALL PROVIDE ETHERNET CAT 6 BACNET CABLING PER THE REQUIREMENTS OF SPECIFICATION 16727 (DATA CABLING SYSTEM). THE DIVISION 16 ELECTRICAL CONTRACTOR SHALL TERMINATE CAT 6 WIRING TO PATCH PANEL IN BACNET DATA CABINET IN MAIN TELECOMMUNICATIONS ROOM AND IN BACNET WALL DATA ENCLOSURES IN EACH INTERMEDIATE TELECOMMUNICATION CLOSET LOCATED CENTRALLY AND STACKED ON EACH FLOOR. |  | 0
0
0
10 |  | 1. *Qty (1) BACnet Data Cabinet |  | 0
| 1 | o Furnish and Install UPS | 350 | 350
| 1 | o Furnish and Install (Rack Mounted) BACnet Server | 2000 | 2000
| 1 | o Furnish and Install LCD Display | 1500 | 1500
|  | ⮚ Keyboard |  | 0
|  | ⮚ Mouse |  | 0
|  | o Install Cisco 24 Port Switch (Switch Furnished by Others) |  | 0
|  | *24 PORT PATCH PANEL BY OTHERS |  | 0
|  | *ENCLOSURE BY OTHERS |  | 0
0
25 |  | 2. Qty (5) Multiple BACnet Router Data Cabinet |  | 0
| 5 | o Furnish NEMA 12K Enclosure – (Qty. 5 Total) Installation by Others |  | 0
| 7 | o Furnish and Install BACnet IP Router – (Qty. 7 Total) |  | 0
| 5 | o Furnish and Install 7AMP Circuit Breaker – (Qty. 5 Total) |  | 0
| 5 | o Furnish and Install Control Transformer – (Qty. 5 Total) |  | 0
0
20 |  | 1. Qty (4) Power Distribution Panel LVCP-1, 2, 4, 5 |  | 0
| 4 | o Furnish 24V Power Distribution Panel for Installation by Others | 1000 | 4000
| 4 | Ø Transformer w/ Circuit Breaker | 350 | 1400
| 4 | Ø Enclosure |  | 0
| 4 | o Furnish and Install 7AMP Circuit Breaker |  | 0
|  | *ASSUMED AS PER STANDARD PRACTICE |  | 0
0
6 |  | 3. Qty (1) Global Points |  | 0
| 1 | o Furnish and Install Outside Air Temperature | 750 | 750
| 1 | o Furnish and Install Outside Air Humidity |  | 0
| 1 | o Furnish and Install Outside Air CO2 |  | 0
0
64 |  | 4. Qty (4) Packaged Air Handling Unit AHU-1, 2, 3, 4 |  | 0
|  | o Install and wire Space Temperature / Humidity Sensor (Furnished by Unit Mfr.) |  | 0
|  | o Install and wire Duct Static Pressure Sensor (Furnished by Unit Mfr.) |  | 0
|  | o Tie-in Fire Alarm Shutdown Signal from Fire Alarm Control Panel |  | 0
|  | o Furnish BMS Communication Wiring to Factory Controls – (Qty. 4 Total) |  | 0
|  | o Map Available Points Via Mfr. Provided BMS Interface |  | 0
|  | Ø AME Requires Mfr. Rep to Assist in Integration, cost to be Incurred by Mech Contractor |  | 0
|  | o Furnish BMS Communication Wiring to VFD Factory Controls – (Qty. 8 Total) |  | 0
|  | o Map Available Points Via Mfr. Provided BMS Interface |  | 0
|  | Ø AME Requires Mfr. Rep to Assist in Integration, cost to be Incurred by Mech Contractor |  | 0
|  | o Furnish BMS Communication Wiring to Enthalpy Wheel VFD Controls – (Qty. 4 Total) |  | 0
|  | o Map Available Points Via Mfr. Provided BMS Interface |  | 0
|  | Ø AME Requires Mfr. Rep to Assist in Integration, cost to be Incurred by Mech Contractor |  | 0
|  | *AFMS, A2L REFRIGERANT LEAK DETECTION SYSTEM BY UNIT MFR. |  | 0
0
16 |  | 5. Qty (1) Packaged Air Handling Unit AHU-5 |  | 0
|  | o Install and wire Space Temperature / Humidity / CO2 Sensor (Furnished by Unit Mfr.) |  | 0
|  | o Tie-in Fire Alarm Shutdown Signal from Fire Alarm Control Panel |  | 0
|  | o Furnish BMS Communication Wiring to Factory Controls |  | 0
|  | o Map Available Points Via Mfr. Provided BMS Interface |  | 0
|  | Ø AME Requires Mfr. Rep to Assist in Integration, cost to be Incurred by Mech Contractor |  | 0
|  | o Furnish BMS Communication Wiring to VFD Factory Controls – (Qty. 2 Total) |  | 0
|  | o Map Available Points Via Mfr. Provided BMS Interface |  | 0
|  | Ø AME Requires Mfr. Rep to Assist in Integration, cost to be Incurred by Mech Contractor |  | 0
|  | o Furnish BMS Communication Wiring to Enthalpy Wheel VFD Controls |  | 0
|  | o Map Available Points Via Mfr. Provided BMS Interface |  | 0
|  | Ø AME Requires Mfr. Rep to Assist in Integration, cost to be Incurred by Mech Contractor |  | 0
|  | *AFMS, A2L REFRIGERANT LEAK DETECTION SYSTEM BY UNIT MFR. |  | 0
0
16 |  | 6. Qty (1) Packaged Air Handling Unit AHU-6 |  | 0
|  | o Install and wire Space Temperature / Humidity / CO2 Sensor (Furnished by Unit Mfr.) |  | 0
|  | o Tie-in Fire Alarm Shutdown Signal from Fire Alarm Control Panel |  | 0
|  | o Furnish BMS Communication Wiring to Factory Controls |  | 0
|  | o Map Available Points Via Mfr. Provided BMS Interface |  | 0
|  | Ø AME Requires Mfr. Rep to Assist in Integration, cost to be Incurred by Mech Contractor |  | 0
|  | o Furnish BMS Communication Wiring to VFD Factory Controls – (Qty. 2 Total) |  | 0
|  | o Map Available Points Via Mfr. Provided BMS Interface |  | 0
|  | Ø AME Requires Mfr. Rep to Assist in Integration, cost to be Incurred by Mech Contractor |  | 0
|  | *AFMS, A2L REFRIGERANT LEAK DETECTION SYSTEM BY UNIT MFR. |  | 0
0
0
174 |  | 7. Qty (58) Variable Air Volume Box – VAV |  | 0
| 58 | o Furnish DDC Controller to the Factory for Installation | 267 | 15486
| 58 | o Furnish and Install Space Temperature / CO2 Sensor | 380 | 22040
|  | o 24V Transformer by Unit Mfr. |  | 0
0
57 |  | 8. Qty (19) Constant Air Volume Box CAV-## (NO CONTROL INFORMATION PROVIDED) |  | 0
| 19 | o Furnish DDC Controller to the Factory for Installation | 267 | 5073
|  | o 24V Transformer by Unit Mfr. |  | 0
0
24 |  | 9. Qty (4) Fan Powered Variable Air Volume Box w/ Heating Coil – FPVAV |  | 0
| 4 | o Furnish DDC Controller to the Factory for Installation | 267 | 1068
| 4 | o Furnish and Install Space Temperature / CO2 Sensor | 380 | 1520
| 4 | o Furnish Fan Start / Stop and Status | 50 | 200
| 4 | o Furnish and Install Discharge Air Temperature Sensor | 25 | 100
| 4 | o Furnish Electric Heat SCR Control |  | 0
|  | o 24V Transformer by Unit Mfr. |  | 0
0
20 |  | 10. Qty (10) Split System Indoor Unit AC-## ¦ Qty (10) Outdoor Unit ACCU-## |  | 0
|  | o Install and wire Programmable Thermostat (Furnished by Unit Mfr.) |  | 0
| 10 | o Furnish and Install Space Temperature / Humidity Sensor (BMS Monitoring) | 269 | 2690
| 10 | o Furnish and Install Leak Sensor | 50 | 500
|  | o Tie-in Condensate Pump Float Switch (Furnished by Mfr.) – As per Detail 5 (M504) |  | 0
|  | o Low Voltage Interlock Wiring between Indoor and Outdoor Unit |  | 0
|  | o Furnish BMS Communication Wiring to Factory Controls |  | 0
|  | o Map Available Points Via Mfr. Provided BMS Interface |  | 0
|  | Ø AME requires mfr. Rep to assist in integration, cost to be incurred by mech contractor |  | 0
0
10 |  | 11. Qty (1) Split System Indoor Unit AC-502 ¦ Qty (1) Outdoor Unit ACCU-502 |  | 0
|  | 12. Qty (1) Energy Recovery Ventilator Unit ERV-502 |  | 0
|  | 13. Qty (2) Gravity Ventilator GV-502-IN, EX |  | 0
|  | 14. Qty (1) Electric Duct Heater EDH-502 |  | 0
|  | o Install and wire Programmable Thermostat (Furnished by Unit Mfr.) (For Split System) |  | 0
| 1 | o Furnish and Install Space Temperature / Humidity Sensor (BMS Monitoring) | 269 | 269
| 2 | o Furnish and Install Gravity Ventilator Damper Actuator – (Qty. 2 Total) | 325 | 650
| 1 | o Furnish and Install Leak Sensor | 50 | 50
|  | o Tie-in Condensate Pump Float Switch (Furnished by Mfr.) – As per Detail 5 (M504) |  | 0
|  | o Necessary Low Voltage Interlock Wiring between ERV Unit and Split Indoor Unit Operation |  | 0
|  | o Necessary Low Voltage Interlock Wiring between EDH and Split Indoor Unit Operation |  | 0
|  | o Necessary Low Voltage Control Wiring between ERV Unit Factory Relay Module for Damper Control and Split Indoor Unit |  | 0
|  | o Low Voltage Interlock Wiring between Split Indoor and Outdoor Unit |  | 0
|  | o Furnish BMS Communication Wiring to Split Factory Controls |  | 0
|  | o Map Available Points Via Mfr. Provided BMS Interface |  | 0
|  | Ø AME requires mfr. Rep to assist in integration, cost to be incurred by mech contractor |  | 0
|  | o Furnish BMS Communication Wiring to Energy Recovery Ventilator Factory Controls |  | 0
|  | o Map Available Points Via Mfr. Provided BMS Interface |  | 0
|  | Ø AME requires mfr. Rep to assist in integration, cost to be incurred by mech contractor |  | 0
0
12 |  | 15. Qty (3) Toilet Exhaust Fan TEF-1, 2, 3 |  | 0
| 3 | o Furnish and Install DDC Controller | 500 | 1500
| 3 | o Furnish Fan Start / Stop and Status | 50 | 150
| 3 | o Furnish and Install Exhaust Fan Damper Actuator – (Qty. 3 Total) | 325 | 975
0
|  | 16. Qty (1) Electric Room Exhaust Fan EF-1 |  | 0
4 | 1 | o Furnish and Install DDC Controller | 500 | 500
| 1 | o Furnish and Install Space Temperature Sensor | 85 | 85
| 1 | o Furnish Fan Start / Stop and Status | 50 | 50
| 1 | o Furnish and Install Exhaust Fan Damper Actuator | 325 | 325
0
4 |  | 17. Qty (1) Shower Room Exhaust Fan EF-2 |  | 0
8 |  | 18. Qty (2) Storage Room Exhaust Fan EF-3, 8 |  | 0
4 |  | 19. Qty (1) Water Service Room Exhaust Fan EF-5 |  | 0
8 |  | 20. Qty (2) Locker Room Exhaust Fan EF-6, 10 |  | 0
| 6 | o Furnish and Install DDC Controller | 500 | 3000
| 6 | o Furnish Fan Start / Stop and Status | 50 | 300
| 6 | o Furnish and Install Exhaust Fan Damper Actuator – (Qty. 6 Total) | 325 | 1950
0
4 |  | 21. Qty (1) Art Storage Room Kiln Exhaust Fan EF-7 |  | 0
|  | o Interlock Wiring with Associated Unit Operation |  | 0
| 1 | o Furnish and Install CT for Fan Status; Connect to Nearby DDC | 35 | 35
| 1 | o Furnish and Install Damper Actuator | 325 | 325
0
4 |  | 22. *Qty (1) Can Wash Kitchen Exhaust Fan EF-9 (SEE AME ADD ALT) |  | 0
|  | o Connect to Nearby DDC |  | 0
| 1 | o Furnish and Install CT for Fan Status | 35 | 35
| 1 | o Furnish and Install Damper Actuator | 325 | 325
|  | *CONTINUOUS OPERATION – AS PER CONTROL DIAGRAM (M412.00) |  | 0
0
4 |  | 23. Qty (1) MEP Storage Room Exhaust Fan EF-11 ¦ Qty (1) Motorized Damper MD-2 |  | 0
| 1 | o Furnish and Install DDC Controller | 500 | 500
| 1 | o Furnish Fan Start / Stop and Status | 50 | 50
| 1 | o Furnish and Install Exhaust Fan Damper Actuator | 325 | 325
| 1 | o Furnish and Install Make-up Air Damper Actuator | 325 | 325
0
6 |  | 24. Qty (3) Post-Fire Smoke Purge Fans SPF-1, 2A, B ¦ Qty (1) Motorized Damper MD-1 |  | 0
| 4 | o Furnish and Install Damper Actuator – (Qty. 4 Total) | 325 | 1300
|  | *FANS ARE CONTROLLED VIA SMOKE PURGE PANEL FIRE ALARM SYSTEM |  | 0
0
4 |  | 25. Qty (1) General Kitchen Exhaust Fan KEF-1 |  | 0
| 1 | o Furnish and Install DDC Controller | 500 | 500
| 1 | o Furnish and Install Space Temperature Sensor | 85 | 85
| 1 | o Furnish Fan Start / Stop and Status | 50 | 50
| 1 | o Furnish and Install Damper Actuator | 325 | 325
|  | *AS PER CONTROL DIAGRAM (M412.00) |  | 0
0
10 |  | Kitchen Exhaust System |  | 0
|  | 26. Qty (1) Kitchen Exhaust Fan KEF-2 |  | 0
|  | 27. Qty (2) Kitchen Hood |  | 0
|  | o Interlock wiring b/w AHU and Kitchen Exhaust Fan Operation |  | 0
|  | o Interlock wiring w/ Dietician’s HOA Switch at Kitchen Hood Control Panel Operation |  | 0
| 1 | o Furnish and Install CT for Fan Status | 35 | 35
| 1 | o Furnish and Install Damper Actuator (Exhaust Fan) | 325 | 325
0
6 |  | 28. Qty (1) Canopy Area Supply Fan SF-100B ¦ Qty (1) Electric Duct Heater EDH-1 |  | 0
| 1 | o Furnish and Install DDC Controller | 1000 | 1000
| 1 | o Furnish and Install Space Temperature Sensor | 85 | 85
| 1 | o Furnish Supply Fan Start / Stop and Status | 50 | 50
| 1 | o Furnish EDH Enable / Disable, Status | 50 | 50
| 1 | o Furnish and Install EDH Discharge Air Temperature Sensor | 25 | 25
0
4 |  | 29. Qty (1) Roof Storage Room Exhaust Fan EX-R03 ¦ Qty (2) Motorized Damper MD-3, 4 |  | 0
| 1 | o Furnish and Install DDC Controller | 500 | 500
| 1 | o Furnish Fan Start / Stop and Status | 50 | 50
| 1 | o Furnish and Install Exhaust Fan Damper Actuator | 325 | 325
| 1 | o Furnish and Install Make-up Air Damper Actuator | 325 | 325
0
4 |  | 30. Qty (2) Electric Air Curtain ARC-1.1, 1.2 |  | 0
|  | o Interlock w/ Door Switch (Furnished by Unit Mfr.) – (Qty. 4 Total) 2 per Unit (As per Schedule) |  | 0
|  | *INTEGRAL THERMOSTAT |  | 0
0
4 |  | 31. Qty (4) Recessed Wall Electric Cabinet Unit Heater CBH-A |  | 0
| 1 | o Furnish and Install BACnet Thermostat – (Qty. 1 Total) | 330 | 330
0
86 |  | 32. Qty (43) Electric Cabinet Unit Heater ECUH-## |  | 0
| 42 | o Furnish and Install BACnet Thermostat – (Qty. 42 Total) | 330 | 13860
0
22 |  | 33. Qty (11) Electric Unit Heater EUH-## |  | 0
| 11 | o Furnish and Install BACnet Thermostat – (Qty. 11 Total) | 330 | 3630
0
52.5 |  | 34. Qty (105) Electric Baseboard Heater |  | 0
|  | o Interlock with Associated VAV Unit Operation |  | 0
0
10 |  | 35. Qty (8) Electric Baseboard Heater |  | 0
| 5 | o Furnish and Install BACnet Thermostat – (Qty. 5 Total) | 330 | 1650
0
12 |  | 36. *Qty (3) Heat Pump Water Heater HPWH-1, 2, 3 ¦ Qty (2) Recirculating Pump HWCP-1, 2 – As per Control Diagram 1 (M413.00) |  | 0
| 1 | o Furnish and Install DDC Controller | 500 | 500
| 4 | o Furnish and Install Hot Water Supply / Return Temperature Sensor – (Qty. 4 Total) | 50 | 200
| 2 | o Furnish and Install CT for Recirculating Pump Status – (Qty. 2 Total) | 35 | 70
|  | o Electrical Power Meter (Furnished and Installed by Others) – (Qty. 3 Total) |  | 0
|  | Ø BMS Communication Wiring to Mfr. Provided BMS Interface |  | 0
|  | o Furnish BMS Communication Wiring to HWHP Factory Controls – (Qty. 3 Total) |  | 0
|  | o Map Available Points Via Mfr. Provided BMS Interface |  | 0
|  | Ø AME requires mfr. Rep to assist in integration, cost to be incurred by mech contractor |  | 0
|  | o Furnish BMS Communication Wiring Domestic HW Control Panel Controls – As per Note 2 (M413) |  | 0
|  | o Map Available Points Via Mfr. Provided BMS Interface |  | 0
|  | Ø AME requires mfr. Rep to assist in integration, cost to be incurred by mech contractor |  | 0
|  | *MIXING VALVE BY OTHERS |  | 0
0
6 |  | 37. Qty (1) Emergency Generator |  | 0
| 1 | o Furnish Control Wiring b/w Generator and Remote-control Panel |  | 0
| 1 | o Furnish Belly Fuel Tank Alarm Via Common Alarm Output |  | 0
|  | Ø High Level Alarm |  | 0
|  | Ø Low Level Alarm |  | 0
|  | Ø Leak Alarm |  | 0
| 1 | o Furnish and Install Horn and Strobe Sensor – As per 15985 - 86 | 317 | 317
| 1 | o Furnish and Install Damper Actuator – As per 15985 - 91 | 325 | 325
|  | o Furnish BMS Communication Wiring to Generator Factory Controls |  | 0
|  | o Map Available Points Via Mfr. Provided BMS Interface |  | 0
|  | Ø AME requires mfr. Rep to assist in integration, cost to be incurred by mech contractor |  | 0
|  | o Furnish BMS Communication Wiring to Alarm Panel |  | 0
|  | o Map Available Points Via Mfr. Provided BMS Interface |  | 0
|  | Ø AME requires mfr. Rep to assist in integration, cost to be incurred by mech contractor |  | 0
|  | *Remote Annunciator Panel in the Custodian’s Office by Others |  | 0
0
4 |  | 38. Qty (2) Sub-Slab Depressurization System SF-1, 2 (H205.00) |  | 0
| 2 | o Furnish and Install Interposing relay for Mfr. Provided DP Switch for BMS Connection – As per H205.00 | 50 | 100
| 2 | o Furnish BMS Communication Wiring to Factory Controls |  | 0
|  | o Map Available Points Via Mfr. Provided BMS Interface |  | 0
|  | Ø AME requires mfr. rep to assist in integration, cost to be incurred by Mech Contractor |  | 0
0
4 |  | 39. Qty (1) Refrigerant Shaft Leak Detection – As per Keynote 7 (M101.00) |  | 0
| 1 | o Furnish and Install Refrigerant Leak Detection Sensor | 1000 | 1000
| 1 | o Furnish and Install Damper Actuator | 325 | 325
|  | o Necessary Interlock Wiring with Fire Alarm System |  | 0
0
|  | 40. Misc Monitoring Systems |  | 0
|  | o Map Available Points Via Mfr. Provided BMS Interface or Connect to Nearby DDC Controller |  | 0
2 |  | Ø Main Electrical Meter (Furnished and Installed by Others) – (Qty. 1 Total) |  | 0
|  | § Mfr. to Provide Pulse Output for Monitoring at BMS |  | 0
2 |  | Ø Utility Electrical Meter (Furnished and Installed by Others) – (Qty. 2 Total) |  | 0
|  | § Mfr. to Provide Pulse Output for Monitoring at BMS |  | 0
2 |  | Ø Main Switchboard Meter (Furnished and Installed by Others) – (Qty. 2 Total) |  | 0
|  | § Mfr. to Provide Pulse Output for Monitoring at BMS |  | 0
43 |  | Ø Panel Electric meter for Below Mentioned Panels (Furnished and Installed by Others) – (Qty. 43 Total) |  | 0
|  | · PP-## – (Qty. 16 Total) |  | 0
|  | · ELP-## – (Qty. 7 Total) |  | 0
|  | · EPP-## – (Qty. 6 Total) |  | 0
|  | · LP-## – (Qty. 6 Total) |  | 0
|  | · RP-## – (Qty. 6 Total) |  | 0
|  | · DIM-AUD – (Qty. 1 Total) |  | 0
|  | · DB-ELEV – (Qty. 1 Total) |  | 0
|  | § BMS Communication Wiring to Mfr. Provided BMS Interface |  | 0
6 |  | Ø Electric meter for Feeder Serving Each Roof top Unit (Furnished and Installed by Others) – (Qty. 6 Total) As per Energy Metering Detail (M407.00) |  | 0
11 |  | Ø Electric meter for Air Cooled Condensing Unit (Furnished and Installed by Others) – (Qty. 11 Total) As per Energy Metering Detail (M407.00) |  | 0
2 |  | Ø Elevator Sump Pump EVP-1 (Qty. 1 Total) |  | 0
|  | § Pump Status |  | 0
|  | § High Level Alarm |  | 0
2 |  | Ø Domestic Water Incoming Water Filter F1 (Qty. 1 Total) |  | 0
|  | § Head of Serv Common Alarm |  | 0
|  | § Head of Serv Backwash Status |  | 0
2 |  | Ø Domestic Water Booster Pump Panel WBP-1 (Qty. 1 Total) |  | 0
|  | § Booster Pump Set General Fault Alarm |  | 0
|  | § Tie-in Mfr. Provided Watt Meter into BMS via Mfr. Provided BACnet Interface |  | 0
|  | § Furnish BMS Communication Wiring to VFD Factory Controls – As per Note 5 (M407.00) |  | 0
|  | § Map Available Points Via Mfr. Provided BMS Interface |  | 0
|  | · AME requires mfr. Rep to assist in integration, cost to be incurred by mech contractor |  | 0
2 |  | Ø Intrusion Alarm |  | 0
0
|  | 41. Provide 2 Year Full Preventive Maintenance contract including all labor, materials and equipment necessary for the successful operation of the entire BACnet BMS/DDC Temperature Control System as provided by the TCC – 15970-42 |  | 0
0
|  | 42. Guarantee / Warranty |  | 0
|  | o 2 Year Workmanship and Material Guarantee for all work of this Section starting from completion of the commissioning of the system. – As per 15970-40 |  | 0
|  | o Provide a 4-year manufacturer’s warranty for the Supervisor Station, SOC, and POT. – As per 15970-41 |  | 0
|  | o Provide a 5-year software subscription service for the application software for the Tridium Supervisor Server. – As per 15970-30 |  | 0
0
|  | 43. Provide 2 Year Guarantee for Workmanship and Material – 15970-49 |  | 0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
942.5 |  |  |  | 110088 | 0
|  | Additional Material Contingency | 10%
|  | Tech Cost Per Hour | 110
|  | AME Project Management Costs in Comparison to Technician Costs | 40%
|  | AME Engineering Costs in Comparison to Technician Costs | 20%
|  | Material Sales Tax | 6.625% |  | Sales Tax | Cost
|  | Material Sales Tax Total | 7293.33 |  | New Jersey | 6.625%
[5 empty] | New York | 8.875%
|  | Total Material Costs | 121096.8
|  | AME Technician Costs | 103675
|  | AME Project Management Costs | 41470
|  | Engineering Costs | 20735
|  | Total AME Costs | 286976.8
|  | Markup on Total Costs | 40%
|  | AME Material / Technician / PM / Engineering Sell Price | 401767.52
Mechanical Contractor Costs
Other 3rd Party Costs
|  | Markup on Contractor Costs | 25%
|  | Third Party Contractors Sell Price | 0
|  | Markup on Internal Electrical Budget | 10% |  | Electrician | Cost
|  | Electrical Costs | 0
|  | Markup on Electrical Costs | 25%
|  | Electrical Sell Price | 0
|  | TOTAL SELL PRICE | 409060.85
|  | GROSS MARGIN | 28.57%
|  | Markup on Total Sell Price | 15%
|  | Total Sell After Markup | 470419.9775
|  | MARKUP GROSS MARGIN | 39%

## ADD ALT
Tech Hours | Quantities | Scope of Work | Unit Price | Material Totals | Electric Costs
|  | ADD ALTERNATES: |  | 0
0
|  | 1. ALT 1: Controls As per Sequence of operation 15985 – 18 |  | 0
0
4 |  | 44. *Qty (1) Can Wash Kitchen Exhaust Fan EF-9 |  | 0
| 1 | o Furnish and Install DDC Controller | 500 | 500
| 1 | o Furnish Fan Start / Stop and Status | 50 | 50
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
4 |  |  |  | 550 | 0
|  | Additional Material Contingency | 10%
|  | Tech Cost Per Hour | 110
|  | AME Project Management Costs in Comparison to Technician Costs | 40%
|  | AME Engineering Costs in Comparison to Technician Costs | 20%
|  | Material Sales Tax | 6.625% |  | Sales Tax | Cost
|  | Material Sales Tax Total | 36.4375 |  | New Jersey | 6.625%
[5 empty] | New York | 8.875%
|  | Total Material Costs | 605
|  | AME Technician Costs | 440
|  | AME Project Management Costs | 176
|  | Engineering Costs | 88
|  | Total AME Costs | 1309
|  | Markup on Total Costs | 40%
|  | AME Material / Technician / PM / Engineering Sell Price | 1832.6
Mechanical Contractor Costs
Other 3rd Party Costs
|  | Markup on Contractor Costs | 25%
|  | Third Party Contractors Sell Price | 0
|  | Markup on Internal Electrical Budget | 10% |  | Electrician | Cost
|  | Electrical Costs | 0
|  | Markup on Electrical Costs | 25%
|  | Electrical Sell Price | 0
|  | TOTAL SELL PRICE | 1869.0375
|  | GROSS MARGIN | 29.96%
|  | Markup on Total Sell Price | 15%
|  | Total Sell After Markup | 2149.3931
|  | MARKUP GROSS MARGIN | 39.1%

## DEDUCT ALT
Tech Hours | Quantities | Scope of Work | Unit Price | Material Totals | Electric Costs
|  | DEDUCT ALTERNATES: |  | 0
0
|  | 1. ALT #: |  | 0
4 |  | 45. Qty (1) Shower Room Exhaust Fan EF-2 |  | 0
| 1 | o Furnish and Install CT for Fan Status; Connect to Nearby DDC | 35 | 35
| 1 | o Furnish and Install Damper Actuator | 325 | 325
|  | *CONTROLLED THROUGH LOCAL MANUAL SWITCH – AS PER SEQUENCE OF OPERATION (15985 – 18) |  | 0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
4 |  |  |  | 360 | 0
|  | Additional Material Contingency | 10%
|  | Tech Cost Per Hour | 110
|  | AME Project Management Costs in Comparison to Technician Costs | 40%
|  | AME Engineering Costs in Comparison to Technician Costs | 20%
|  | Material Sales Tax | 6.625% |  | Sales Tax | Cost
|  | Material Sales Tax Total | 23.85 |  | New Jersey | 6.625%
[5 empty] | New York | 8.875%
|  | Total Material Costs | 396
|  | AME Technician Costs | 440
|  | AME Project Management Costs | 176
|  | Engineering Costs | 88
|  | Total AME Costs | 1100
|  | Markup on Total Costs | 40%
|  | AME Material / Technician / PM / Engineering Sell Price | 1540
Mechanical Contractor Costs
Other 3rd Party Costs
|  | Markup on Contractor Costs | 25%
|  | Third Party Contractors Sell Price | 0
|  | Markup on Internal Electrical Budget | 10% |  | Electrician | Cost
|  | Electrical Costs | 0
|  | Markup on Electrical Costs | 25%
|  | Electrical Sell Price | 0
|  | TOTAL SELL PRICE | 1563.85
|  | GROSS MARGIN | 29.66%
|  | Markup on Total Sell Price | 15%
|  | Total Sell After Markup | 1798.4275
|  | MARKUP GROSS MARGIN | 38.84%

## Price Sheet 4
Tech Hours | Quantities | Scope of Work | Unit Price | Material Totals | Electric Costs
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0 |  |  |  | 0 | 0
|  | Additional Material Contingency | 10%
|  | Tech Cost Per Hour | 110
|  | AME Project Management Costs in Comparison to Technician Costs | 40%
|  | AME Engineering Costs in Comparison to Technician Costs | 20%
|  | Material Sales Tax | 6.625% |  | Sales Tax | Cost
|  | Material Sales Tax Total | 0 |  | New Jersey | 6.625%
[5 empty] | New York | 8.875%
|  | Total Material Costs | 0
|  | AME Technician Costs | 0
|  | AME Project Management Costs | 0
|  | Engineering Costs | 0
|  | Total AME Costs | 0
|  | Markup on Total Costs | 40%
|  | AME Material / Technician / PM / Engineering Sell Price | 0
Mechanical Contractor Costs
Other 3rd Party Costs
|  | Markup on Contractor Costs | 25%
|  | Third Party Contractors Sell Price | 0
|  | Markup on Internal Electrical Budget | 10% |  | Electrician | Cost
|  | Electrical Costs | 0
|  | Markup on Electrical Costs | 25%
|  | Electrical Sell Price | 0
|  | TOTAL SELL PRICE | 0
|  | GROSS MARGIN | #DIV/0!
|  | Markup on Total Sell Price | 15%
|  | Total Sell After Markup | 0
|  | MARKUP GROSS MARGIN | #DIV/0!

## Price Sheet 5
Tech Hours | Quantities | Scope of Work | Unit Price | Material Totals | Electric Costs
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0 |  |  |  | 0 | 0
|  | Additional Material Contingency | 10%
|  | Tech Cost Per Hour | 110
|  | AME Project Management Costs in Comparison to Technician Costs | 40%
|  | AME Engineering Costs in Comparison to Technician Costs | 20%
|  | Material Sales Tax | 6.625% |  | Sales Tax | Cost
|  | Material Sales Tax Total | 0 |  | New Jersey | 6.625%
[5 empty] | New York | 8.875%
|  | Total Material Costs | 0
|  | AME Technician Costs | 0
|  | AME Project Management Costs | 0
|  | Engineering Costs | 0
|  | Total AME Costs | 0
|  | Markup on Total Costs | 40%
|  | AME Material / Technician / PM / Engineering Sell Price | 0
Mechanical Contractor Costs
Other 3rd Party Costs
|  | Markup on Contractor Costs | 25%
|  | Third Party Contractors Sell Price | 0
|  | Markup on Internal Electrical Budget | 10% |  | Electrician | Cost
|  | Electrical Costs | 0
|  | Markup on Electrical Costs | 25%
|  | Electrical Sell Price | 0
|  | TOTAL SELL PRICE | 0
|  | GROSS MARGIN | #DIV/0!
|  | Markup on Total Sell Price | 15%
|  | Total Sell After Markup | 0
|  | MARKUP GROSS MARGIN | #DIV/0!

## Price Sheet 6
Tech Hours | Quantities | Scope of Work | Unit Price | Material Totals | Electric Costs
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0 |  |  |  | 0 | 0
|  | Additional Material Contingency | 10%
|  | Tech Cost Per Hour | 110
|  | AME Project Management Costs in Comparison to Technician Costs | 40%
|  | AME Engineering Costs in Comparison to Technician Costs | 20%
|  | Material Sales Tax | 6.625% |  | Sales Tax | Cost
|  | Material Sales Tax Total | 0 |  | New Jersey | 6.625%
[5 empty] | New York | 8.875%
|  | Total Material Costs | 0
|  | AME Technician Costs | 0
|  | AME Project Management Costs | 0
|  | Engineering Costs | 0
|  | Total AME Costs | 0
|  | Markup on Total Costs | 40%
|  | AME Material / Technician / PM / Engineering Sell Price | 0
Mechanical Contractor Costs
Other 3rd Party Costs
|  | Markup on Contractor Costs | 25%
|  | Third Party Contractors Sell Price | 0
|  | Markup on Internal Electrical Budget | 10% |  | Electrician | Cost
|  | Electrical Costs | 0
|  | Markup on Electrical Costs | 25%
|  | Electrical Sell Price | 0
|  | TOTAL SELL PRICE | 0
|  | GROSS MARGIN | #DIV/0!
|  | Markup on Total Sell Price | 15%
|  | Total Sell After Markup | 0
|  | MARKUP GROSS MARGIN | #DIV/0!

## Price Sheet 7
Tech Hours | Quantities | Scope of Work | Unit Price | Material Totals | Electric Costs
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0 |  |  |  | 0 | 0
|  | Additional Material Contingency | 10%
|  | Tech Cost Per Hour | 110
|  | AME Project Management Costs in Comparison to Technician Costs | 40%
|  | AME Engineering Costs in Comparison to Technician Costs | 20%
|  | Material Sales Tax | 6.625% |  | Sales Tax | Cost
|  | Material Sales Tax Total | 0 |  | New Jersey | 6.625%
[5 empty] | New York | 8.875%
|  | Total Material Costs | 0
|  | AME Technician Costs | 0
|  | AME Project Management Costs | 0
|  | Engineering Costs | 0
|  | Total AME Costs | 0
|  | Markup on Total Costs | 40%
|  | AME Material / Technician / PM / Engineering Sell Price | 0
Mechanical Contractor Costs
Other 3rd Party Costs
|  | Markup on Contractor Costs | 25%
|  | Third Party Contractors Sell Price | 0
|  | Markup on Internal Electrical Budget | 10% |  | Electrician | Cost
|  | Electrical Costs | 0
|  | Markup on Electrical Costs | 25%
|  | Electrical Sell Price | 0
|  | TOTAL SELL PRICE | 0
|  | GROSS MARGIN | #DIV/0!
|  | Markup on Total Sell Price | 15%
|  | Total Sell After Markup | 0
|  | MARKUP GROSS MARGIN | #DIV/0!

## Price Sheet 8
Tech Hours | Quantities | Scope of Work | Unit Price | Material Totals | Electric Costs
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0 |  |  |  | 0 | 0
|  | Additional Material Contingency | 10%
|  | Tech Cost Per Hour | 110
|  | AME Project Management Costs in Comparison to Technician Costs | 40%
|  | AME Engineering Costs in Comparison to Technician Costs | 20%
|  | Material Sales Tax | 6.625% |  | Sales Tax | Cost
|  | Material Sales Tax Total | 0 |  | New Jersey | 6.625%
[5 empty] | New York | 8.875%
|  | Total Material Costs | 0
|  | AME Technician Costs | 0
|  | AME Project Management Costs | 0
|  | Engineering Costs | 0
|  | Total AME Costs | 0
|  | Markup on Total Costs | 40%
|  | AME Material / Technician / PM / Engineering Sell Price | 0
Mechanical Contractor Costs
Other 3rd Party Costs
|  | Markup on Contractor Costs | 25%
|  | Third Party Contractors Sell Price | 0
|  | Markup on Internal Electrical Budget | 10% |  | Electrician | Cost
|  | Electrical Costs | 0
|  | Markup on Electrical Costs | 25%
|  | Electrical Sell Price | 0
|  | TOTAL SELL PRICE | 0
|  | GROSS MARGIN | #DIV/0!
|  | Markup on Total Sell Price | 15%
|  | Total Sell After Markup | 0
|  | MARKUP GROSS MARGIN | #DIV/0!

## Price Sheet 9
Tech Hours | Quantities | Scope of Work | Unit Price | Material Totals | Electric Costs
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0 |  |  |  | 0 | 0
|  | Additional Material Contingency | 10%
|  | Tech Cost Per Hour | 110
|  | AME Project Management Costs in Comparison to Technician Costs | 40%
|  | AME Engineering Costs in Comparison to Technician Costs | 20%
|  | Material Sales Tax | 6.625% |  | Sales Tax | Cost
|  | Material Sales Tax Total | 0 |  | New Jersey | 6.625%
[5 empty] | New York | 8.875%
|  | Total Material Costs | 0
|  | AME Technician Costs | 0
|  | AME Project Management Costs | 0
|  | Engineering Costs | 0
|  | Total AME Costs | 0
|  | Markup on Total Costs | 40%
|  | AME Material / Technician / PM / Engineering Sell Price | 0
Mechanical Contractor Costs
Other 3rd Party Costs
|  | Markup on Contractor Costs | 25%
|  | Third Party Contractors Sell Price | 0
|  | Markup on Internal Electrical Budget | 10% |  | Electrician | Cost
|  | Electrical Costs | 0
|  | Markup on Electrical Costs | 25%
|  | Electrical Sell Price | 0
|  | TOTAL SELL PRICE | 0
|  | GROSS MARGIN | #DIV/0!
|  | Markup on Total Sell Price | 15%
|  | Total Sell After Markup | 0
|  | MARKUP GROSS MARGIN | #DIV/0!

## Price Sheet 10
Tech Hours | Quantities | Scope of Work | Unit Price | Material Totals | Electric Costs
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0 |  |  |  | 0 | 0
|  | Additional Material Contingency | 10%
|  | Tech Cost Per Hour | 110
|  | AME Project Management Costs in Comparison to Technician Costs | 40%
|  | AME Engineering Costs in Comparison to Technician Costs | 20%
|  | Material Sales Tax | 6.625% |  | Sales Tax | Cost
|  | Material Sales Tax Total | 0 |  | New Jersey | 6.625%
[5 empty] | New York | 8.875%
|  | Total Material Costs | 0
|  | AME Technician Costs | 0
|  | AME Project Management Costs | 0
|  | Engineering Costs | 0
|  | Total AME Costs | 0
|  | Markup on Total Costs | 40%
|  | AME Material / Technician / PM / Engineering Sell Price | 0
Mechanical Contractor Costs
Other 3rd Party Costs
|  | Markup on Contractor Costs | 25%
|  | Third Party Contractors Sell Price | 0
|  | Markup on Internal Electrical Budget | 10% |  | Electrician | Cost
|  | Electrical Costs | 0
|  | Markup on Electrical Costs | 25%
|  | Electrical Sell Price | 0
|  | TOTAL SELL PRICE | 0
|  | GROSS MARGIN | #DIV/0!
|  | Markup on Total Sell Price | 15%
|  | Total Sell After Markup | 0
|  | MARKUP GROSS MARGIN | #DIV/0!